## Slide 1
Northeastern University
Reactor antineutrino flux and spectrum measurement from Daya Bay
Wenqiang Gu
On behalf of the Daya Bay Collaboration

## Slide 2: Daya Bay: the hunt of
Daya Bay reactor complex
  Shenzhen, southern China
Features
  Large reactor power (6* 2.9GWth)
  Large target mass (8* 20ton)
  Multiple detector configuration: near/far relative measurement
    ~90% reduction of reactor uncertainty for hunt
    Reduction of detector systematics
  Ample cosmic shielding from mountains

## Slide 3: oscillation
Phys. Rev. Lett. 121, 241805
S:B 50:1
World leading precision in and ||

## Slide 4: Unprecedented reactor dataset
3.9 million inverse- decay (IBD) interactions (0.5M at far site)
oscillation
Cosmic/Cosmogenic
Reactor flux
Energy spectrum
Fuel evolution
Beyond standard model
Notes: Given such huge amount of antineutrino, what can we do?
Be careful if export to PDF.

## Slide 5: Why reactor flux & spectrum?
Reactor antineutrino anomaly (RAA)
  G. Mention et al., Phys.Rev. D83 (2011) 073006
Light sterile neutrino?
Underestimated uncertainties in model prediction?
APS/Alan Stonebraker
Source: http://irfu.cea.fr
???
238U
239Pu
241Pu
Huber-Mueller model
P. Huber, Phys. Rev. C84:024617
Th. A. Mueller et al., Phys. Rev. C83:054615
A. C. Hayes et al., Phys. Rev. Lett. 112, 202501
Notes: Do we have a ‘reactor antineutrino anomaly?’
“No: the previous experiments could have been biased to report flux measurements that agreed with existing predictions of the time.”
“Yes: but probably attributable to uncertainties in the beta-to-νe conversion.”
“Yes: the deficit could result from short-baseline sterile neutrino oscillations.”

## Slide 6: Antineutrino detector at Daya Bay
calib. source: , n
NIM A 811, 133 (2016)
NIM A750, 19-37 (2014)
NIM A940 (2019) 230-242
Positron energy uncertainty ~ 0.5%
  calibration + cosmogenic 12B
PMT
Liquid Scintillator (LS)
Gd-doped LS
Mineral Oil
nH
nGd
Notes: IBD
Detector
Difference with Prospect?

## Slide 7: Integrated flux measurement: IBD yield
IBD spectrum
# of proton
IBD cross section
IBD detection efficiency
oscillation & propagation
antineutrino spectrum from fissile isotopes
: IBD field per fission
Report for antineutrino flux

## Slide 8: Previous results from Daya Bay
Fuel evolution => decomposed IBD yield of 235U and 239Pu
Indicates overprediction of 235U IBD yield
Underestimated systematic uncertainty in model prediction?
Chinese Physics C, 2017, 41(1): 13002-013002
= (5.91 0.12) 10-43 cm2 / fission
R(Huber-Mueller) = 0.946 0.020 (exp.)
7.8% deficit for 235U
Phys. Rev. Lett. 118.251801
1230 days
621-day dataset
1.1 million IBD
Prev.
???
Notes: AD12 are more sensitive to DB cores
AD34 are more sensitive to LA cores

## Slide 9: Improved IBD detection efficiency
241Am-13C and 241Am-9Be
Neutron calibration well constrained by model spread in MC simulation
Previous IBD efficiency values
Neutron-related efficiency
εn = 81.83 1.38%
εn = 81.48 0.60%
Uncertainty improved x2
arXiv:1808.10836 [hep-ex]

## Slide 10: Updated absolute flux & spectrum
arXiv:1808.10836 [hep-ex]
Consistent with previous experiments and world average
= (5.91 0.09) 10-43 cm2 / fission
R(Huber-Mueller) = 0.952 0.014 (exp.)
1230 days
1958 days
Spectral shape (normalized) NOT consistent with model prediction
Global discrepancy: 5.3 σ
Local deviation in 4-6 MeV: 6.3 σ
arXiv:1904.07812 [hep-ex]
Energy model uncer. largely improved

## Slide 11: Spectral evolution & decomposition
Spectral evolution observed in early result
  Can decompose 235U/239Pu antineutrino flux
  In a very coarse energy binning
Given 3.5M IBDs at near sites, Daya Bay extracts 235U & 239Pu antineutrino spectra
  In 26 energy bins
Phys. Rev. Lett. 118.251801
IBD
thres.
Slopes indicate enhanced contribution from 239Pu at high energy
by Xin Qian (BNL)
Fission fraction evolution
Notes: Now we have more statistics and finer energy binning than the previous analysis
Story about the isotope decomposition

## Slide 12: Extract 235U & 239Pu antineutrino spectra
First measurement of antineutrino energy spectrum of 239Pu
First measurement of 235U in a commercial reactor
Similar deviation in 4-6MeV for 235U and 239Pu when normalized
IBD yield comparison
235U: data/prediction = 0.92 ±0.023(exp.)
239Pu: data/prediction = 0.99 ±0.057(exp.)
arXiv:1904.07812 [hep-ex]

## Slide 13: Summary
Daya Bay has accumulated unprecedented (3.9 million) reactor antineutrino interactions
Improved reactor antineutrino flux measurement
  Neutron-related detection efficiency improved by a factor of 2
  Data/prediction (Huber-Mueller) = 0.952 0.014 (exp.)
  Consistent with world average
Measurement of antineutrino energy spectra from 235U and 239Pu
  235U: First time in a commercial reactor
  239Pu: First time in the world
Daya Bay expect to continue taking data until end of 2020

## Slide 14: Thanks!

## Slide 15
 | Physics analysis published date | Detector status
2011 | AD 1/2 comparison | 2 EH1 ADs start data taking in Aug. 2+1+3 ADs start data taking in Dec.
2012 | March, First 5 , rate only, 55d | Calibration campaign in Jun. 2+2+4 ADs start data taking in Oct.
2013 | Improved (9), rate only, 139d | 
2014 | Spectral analysis ( and ), 217d nH rate analysis, 217d Sterile neutrino, 217d | 
2015 | Full 8AD oscillation analysis, 621d | AD1 Flash-ADC upgrade in Dec.
2016 | Reactor flux & spectrum, 217d Improved nH, 621d Improved sterile nu, 621d Combined sterile with MINOS, 621d | 
2017 | Long reactor paper, 621d Long osc. paper, 1230d Fuel evolution, 1230d | Calibration campaign in Jan. AD1 taken out for LS study in Jan.
2018 | Muon flux variation Cosmogenic neutron production Long osc. Paper, 1958d New reactor flux, 1230d Time-varying antineutrino signal Individual antineutrino spectra, 1958d | 
 | Physics analysis published date | Detector status
2011 | AD 1/2 comparison | 2 EH1 ADs start data taking in Aug. 2+1+3 ADs start data taking in Dec.
2012 |  | Calibration campaign in Jun. 2+2+4 ADs start data taking in Oct.
2013 |  | 
2014 |  | 
2015 | Full 8AD oscillation analysis, 621d | AD1 Flash-ADC upgrade in Dec.
2016 | Reactor flux & spectrum, 217d Improved nH, 621d Improved sterile nu, 621d Combined sterile with MINOS, 621d | 
2017 | Long reactor paper, 621d Long osc. paper, 1230d Fuel evolution, 1230d | Calibration campaign in Jan. AD1 taken out for LS study in Jan.
2018 | Muon flux variation Cosmogenic neutron production Long osc. Paper, 1958d New reactor flux, 1230d Time-varying antineutrino signal Individual antineutrino spectra, 1958d | 

## Slide 16: Absolute spectrum for 235U
Compare with the model prediction without normalization
  8% deficit in the entire range
  11% deficit below 4MeV

## Slide 17: The Daya Bay collaboration
North America (15)
Brookhaven Natl Lab, Illinois Institute of Technology, Iowa State, Lawrence Berkeley Natl Lab, Princeton, Siena College, Temple University, UC Berkeley, Univ. of Cincinnati, Univ. of Houston, UIUC, Univ. of Wisconsin, Virginia Tech, William & Mary, Yale
South America (1)
Catholic University of Chile
Europe (2)
Charles University, JINR Dubna
Asia (23)
Beijing Normal Univ., CGNPG, CIAE, Chongqing Univ., Dongguan Univ. Tech., ECUST, IHEP, Nanjing Univ., Nankai Univ., NCEPU, NUDT, Shandong Univ., Shanghai Jiao Tong Univ., Shenzhen Univ., Tsinghua Univ., USTC, Xian Jiaotong Univ., Zhongshan Univ.,
Chinese Univ. of Hong Kong, Univ. of Hong Kong,
National Chiao Tung Univ., National Taiwan Univ., National United Univ.