## Slide 1: Detector Performance
TPC
  Noise Level and Charge Extraction
  Calorimetry: dE/dx
  Particle Identification
PDS
  Light Yield
  Calorimetric Energy from Light

## Slide 2: Cold Electronics Performance
JINST 15 (2020) 06, P06017
Cold electronics installed on APA
Notes: Move to later

## Slide 3: Noise Level
The noise level well agrees the expectation from the cold electronics design
Software filter further reduce the noise
Notes: Low noise level even before the software filter, hardware is good

## Slide 4: TPC Channels and Electronics Noise
Total TPC channels: 15360
  99.74% (15320 of 15360) TPC channels are active
  92.83% (14259 of 15360) TPC channels are working with excellent noise performance (ENC < 800e-)

## Slide 5: 2-D Images from One Wire Plane
Time
Wire
Notes: What’s X and Y axis? Explain and label

## Slide 6: 2-D Deconvolution Technique
A novel signal processing technique developed at BNL for MicroBooNE
Consider the long-range induction effect in a 2D deconvolution kernel (time + wire)
Equivalently, recover ionization charges from induced current from all adjacent wires
t: time, : wire
JINST 13 P07006 (2018)
Notes: One of the areas that is closest to my heart is the TPC simulation and signal processing.

## Slide 7: Revisit the Concept
Cartoon animation made by Bo Yu (BNL)
Ionization electrons drifted and induced current read out by three (1D) wire planes
Notes: Emphasize the position and energy determination
Current shape is not a key point here

## Slide 8: 2-D Deconvolution Technique
A novel signal processing technique developed at BNL for MicroBooNE
Consider the long-range induction effect in a 2D deconvolution kernel (time + wire)
Equivalently, recover ionization charges from induced current from all adjacent wires
t: time, : wire
JINST 13 P07006 (2018)
Notes: One of the areas that is closest to my heart is the TPC simulation and signal processing.

## Slide 9: Signal Processing Example
Bipolar signal deconvolved into a unipolar charge distribution
Long tracks in drift direction are obscure in the induction waveform
  cancellation of successive bipolar signals recovered via the 2D deconvolution
After Noise Filtering
Time [s]
Topology dependence
wire 385
After 2-D Deconvolution
wire 385
wire 385
wire 385
Raw waveform
Deconvolved signal
(Shallow angle track)
(Large angle track)

## Slide 10: TPC Performance: dEdx - Calorimetry
Use stopping muon to determine the absolute dE/dx energy scale
A good understanding of the long-range induction effect improves the data-MC agreement

## Slide 11: TPC Performance: Particle ID
Well understood detector response to particles of different types
Excellent separation of muons and protons using calorimetric information

## Slide 12: TPC Performance: Electron/photon dE/dx
Measure dE/dx at the beginning of electrons and photons
1 GeV beam electrons
Photons from 6 GeV pion interactions
Clear e/ separation in dE/dx distributions
Notes: Fully automated reconstruction and large statistical event selection

## Slide 13: Detector Performance
TPC
  Noise Level and Charge Extraction
  Calorimetry: dE/dx
  Particle Identification
PDS
  Light Yield
  Calorimetric Energy from Light

## Slide 14: Photon Detector Performance

## Slide 15: Photon Detector Performance
LY = 102 ph/GeV
Light Yield
Energy Resolution from Light

## Slide 16: Summary of the Performance
The performance meets or exceeds the DUNE specification
Successfully demonstrates the effectiveness of the single-phase design
Notes: Add one more slide on lifetime!

## Slide 17: Other Ongoing Development
Notes: Here I list some of the interesting topics
Also some pineer technique development
Pion exchange is also one of the background for DUNE signal

## Slide 18: Deep Neural Network (DNN) for ROI Finding
Haiwang Yu et al. , arxiv: 2007.12743 (submitted to JINST)
Obtain multi-plane (MP) information
Network structure
Notes: For the ROI finding alg:
We treat this as 2D semantic segmentation.
And used the UNet which showed good performance in segmentation in other domains.
However, we do not want to feed the raw ...

## Slide 19: Boosting Performance for the ROI Finding
Reference
DNN w/ MP
Evaluation on ProtoDUNE data
Evaluation on simulated line charges
Notes: The trained model was first evaluated with simulations of tracks at large angles:

## Slide 20: Event Reconstruction and Classification
“Neutrino interaction classification with a convolutional neural network in the DUNE far detector”
Use convolutional neural network (CNN) to classify events (images)
Results: 80-90% efficiency for both and selections
ProtoDUNE provides an excellent opportunity to test the technique using single particles to mimic simple neutrino interactions
ProtoDUNE-SP Preliminary
arXiv:2006.15052
Notes: Emphasize the contribution of the new simulation

## Slide 21: Final Remarks
ProtoDUNE-SP accomplished the mission
Prototyping production and installation procedures for DUNE Far Detector
Validating design from perspective of basic detector performance
Meets or exceeds the DUNE specification
Accumulating test-beam data to understand/calibrate response of detector to different particle species
3M beam triggers accumulated and analyzed
Demonstrating long term operational stability of the detector
500 days of operation
Notes: Can cover more topics

## Slide 22: Thanks!
May 2020 Collaboration Photo

## Slide 23: Backup Slides

## Slide 24: Dual-Phase ProtoDUNE
Electron signal amplified by Large Electron Multiplier (LEM) in gaseous argon
Charge collected on 2-D segmented anode
Vertical drift distance: 6 m

## Slide 25
November 13, 2018: the beam is off!
Beam Run Summary

## Slide 26: Wrapped Wire Readout Design
Modular design for transportation and underground installation
Three (1D) wire planes with ~ 2560 readout channels. In comparison, would require half million channels for a 2D pixel readout with similar resolution (~ 5 mm pitch)
  Considerations of cost and power consumption of electronics inside LAr
5.920 m
2.295 m
Collection (X)
Induction (V)
Induction (U)
Stainless Steel frame
Electronics Plate
Photon Detectors
One APA

## Slide 27: First Far Detector Module
Four 17-kton modules deployed in stages
First module will be single phase LArTPC
Single phase design uses modular drift cells (scalable)
  Suspended Anode and Cathode Plane Assemblies (APAs and CPAs)
  Wrapped wires: reduce number of readout channels, cabling complexity
  3.6 m drift, 500 V/cm E-field; photon detectors for non-beam triggering

## Slide 28: Signal Processing Example
Bipolar signal deconvolved into an unipolar charge distribution
Long tracks in drift direction are obscure in the induction waveform
  cancellation of successive bipolar signals recovered via the 2D deconvolution
After Noise Filtering
Time [s]
Topology dependence
wire 385
After 2-D Deconvolution
wire 385
wire 385
wire 385
Raw waveform
Deconvolved signal